| Test | Test Codes | Swab / Transport Device | Stability and Transport Conditions | Specimen Source / Replaces |
| --- | --- | --- | --- | --- |
| The Procedure Catalog is your one source of truth. It has all the information for all lab testing offered. Simply type procedure in the search bar header, hit run. Tests are selectable by name and LAB test code. |  |  |  |  |
| Chlamydia trachomatis/Neisseria gonorrhoeae (CT/NG) | LAB8054 (urine and female genital swab) |  | Minimum stability is 14 days at Room Temperature (RT). | Transport Device: Alinity M multi-Collect. Source: Validated for the following sources: Vaginal, endocervical and male and female urine. Use orange handled swab or urine (FILL URINE TO MIDDLE OF WINDOW LINE). Replaces Aptima Swab. * Abbott Alinity M multi-Collect reference number: 09N19-015 Order through Infor (each box contains 500 swabs) |
| CT/NG PCR Throat | LAB8085 (throat) |  | Minimum stability is 14 days at Room Temperature (RT). | Transport Device: Alinity M multi-Collect Source: Throat Use orange handled swab or urine (FILL URINE TO MIDDLE OF WINDOW LINE). Replaces Aptima Swab. * Abbott Alinity M multi-Collect reference number: 09N19-015 Order through Infor (each box contains 500 swabs) |
| Test | Test Codes | Swab / Transport Device | Stability and Transport Conditions | Specimen Source / Replaces |
| CT/NG Rectal | LAB8079 (Rectal) |  | Quest Test. Stable 30 days at Room Temp. | Transport Device: Aptima Source: Rectal Order supplies through Quest |
| 4-in-1 Sexually Transmitted Infection. Chlamydia trachomatis, Neisseria gonorrhoeae, Trichomonas vaginalis, Mycoplasma genitalium | LAB11040 |  | Minimum stability is 14 days at Room Temp. | Transport Device: Alinity M multi-Collect. Source: vaginal, endocervical and male and female urine. Use orange handled swab or urine (FILL URINE TO MIDDLE OF WINDOW LINE). Replaces Aptima Swab. * Abbott Alinity M multi-Collect reference number: 09N19-015 Order through Infor (each box contains 500 swabs) |
| Bacterial Vaginosis (Gardnerella, Trichomonas, Yeast) Sureswab Advanced BV/CT/NG | LAB8540 LAB11036 |  | Quest Stable 30 days at Room Temp. | Transport Device: Aptima Source: Vaginal |
| Test | Test Codes | Swab / Transport Device | Stability and Transport Conditions | Specimen Source / Replaces |
| Group B Streptococcus detection (prenatal) with susceptibilities | LAB8631 |  | 24 hrs. at RT. Swabs received 24 hours to 6 days after collection will be run with a disclaimer. | Transport Device: eSwab Source: Vaginal/Rectal Mfg. part number 480C Order through Medline Punchout |
| Bacterial Cultures performed at PeaceHealth Reference Lab |  |  |  |  |
| Aerobic culture, | LAB8059 |  | eSwab: Stable 48 hours at RT. Aspirate abscess material and tissue may be placed in the transport medium. Do not overfill. | Transport Device: eSwab Source: Various specimen sources. Mfg. part number 480C Order through Medline Punchout |
| aerobic and anaerobic culture. | LAB8058 |  |  |  |
| Staphylococcus aureus culture | LAB2882 |  |  |  |
| Other tests still going to Quest |  |  |  |  |
| B. pertussis & B. parapertussis PCR | LAB923 |  | RT for up to 48 h. | Transport Device: VCM, UTM or M4 Source: Nasopharyngeal aspirate or nasopharyngeal swab |
| Varicella Zoster Virus culture, Rapid Method | LAB8736 | VCM or FDA Approved VTM | Refrigerated 72h. | Transport Device: Viral transport medium Source: Vesicle/lesion, throat swab or biopsy |
| Varicella-zoster Virus PCR | LAB1372 | Whole blood collected in EDTA Viral transport medium for lesions | RT 48h. | Transport Device: EDTA whole blood or Viral Transport Medium Source: Whole blood, Vesicle/lesion |
| HPV DNA (16,18, Other High risk), PCR, vaginal self-collect | LAB11384 | ThinPrep vial collected using Copan Floq swab | RT 30 d. | Transport Device: ThinPrep vial Source: Vaginal Self-collect |
| Fungal Culture (not skin, hair or nails) | LAB240 | Multiple types - see Procedure Catalog | RT 48 h. | Transport Device: See Procedure Catalog Source: See Procedure Catalog |
| Fungal Culture (skin, hair, nails) | LAB1294 | Multiple types - see procedure catalog | RT 48h. | Transport Device: See Procedure Catalog Source: See Procedure Catalog |
| Herpes Simplex Virus (HSV-1/HSV-2) PCR | LAB6615 | Multiple types - see procedure catalog | RT 48h. | Transport Device: See Procedure Catalog Source: See Procedure Catalog |
| Culture, Genital | LAB8593 | Red Cap Amies liquid transport swab, blue cap Amies gel transport swab or eSwab. | RT 48. | Transport Device: Amies gel or liquid transport swab (includes eSwab) Source: Vaginal, endocervical, urethral, prostatic secretions |
| Ear culture | LAB2501 | Outer ear use transport or eSwab. Inner ear use sterile needle and syringe. | eSwab: 48h. RT Other swab: 24 h. RT | Transport Device: eSwab or syringe with needle removed and sterile cap in place (for inner ear specimen). Source: Outer or inner ear |
| Eye culture and gram stain | LAB2533 |  | If Neisseria gonorrheae suspected: 24 h. RT on eSwab | Transport Device: eSwab Source: Eye |

Coming Soon July - August 2026

| Women’s Health Vaginosis / Vaginitis Gardnerella, Trichomonas and Yeast | LAB11036 (it will be the same code as the Quest test) |  | Cepheid Xpert Swab Collection Kit | SWAB/G-50 US |
| --- | --- | --- | --- | --- |