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PeaceHealth Reference Lab Swab Guide				9.8.2026
	Test
	Test Codes
	Swab / Transport Device. Stability and Transport Conditions
	Specimen Source 

	CT/NG, Trichomonas, Mycoplasma genitalium
	LAB7062
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14 days at Room Temp (RT).

Abbott Alinity M multi-Collect reference number: 09N19-015

Order through Infor (each box contains 500 swabs)
	Transport Device: Alinity M multi-Collect. 
Source: vaginal, endocervical and male urine.
Female urine please order LAB6590.
Use orange handled swab or urine (FILL URINE TO MIDDLE OF WINDOW LINE).

	CT/NG, Trichomonas
	LAB6590
	
	Transport Device: Alinity M multi-Collect. 
Source: vaginal, endocervical and male and female urine.
Use orange handled swab or urine (FILL URINE TO MIDDLE OF WINDOW LINE).

	CT/NG
	LAB8054 
	
	Transport Device: Alinity M multi-Collect. 
Source: Vaginal, endocervical and male and female urine. 
Use orange handled swab or urine (FILL URINE TO MIDDLE OF WINDOW LINE). 

	CT/NG Throat
	LAB8085 (throat)
	
	Transport Device: Alinity M multi-Collect 
Source: Throat
Use orange handled swab 

	CT/NG Rectal
	LAB8079 (rectal)
	
	Transport Device: Alinity M multi-Collect 
Source: Rectal
Use orange handled swab 

	Xpert Swab, Vaginal Pathogen PCR. Bacterial vaginosis, Trichomonas and yeast.

	LAB7724
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Transport Device: Xpert Swab Specimen Collection Kit.
Source: Vaginal. Stable 42 days at Room Temperature.

	CT/NG, bacterial vaginosis, Trichomonas and Yeast
	LAB8054
&
LAB7724
	Requires both Alinity (CT/NG) and Xpert swab (vaginosis / vaginitis). [image: ][image: ]

	Group B Streptococcus detection (prenatal)
	LAB8631
&
LAB6497 (PCN allergy)
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	24 hrs. at RT. Swabs received 24 hours to 6 days after collection will be run with a disclaimer. 
	 Transport Device: eSwab
Source: Vaginal/Rectal  

Mfg. part number 480C

Order through Medline Punchout



	Aerobic culture
	LAB8059
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	eSwab: Stable 48 hours at RT.

Aspirate abscess material and tissue may be placed in the transport medium. Do not overfill.

	Transport Device: eSwab
Source: Various specimen sources.

Mfg. part number 480C

Order through Medline Punchout

	aerobic and anaerobic culture.
	LAB8058
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	24 hrs. at RT. Swabs received 24 hours to 6 days after collection will be run with a disclaimer. 
	 Transport Device: eSwab
Source: Vaginal/Rectal  

Mfg. part number 480C

Order through Medline Punchout



	Staphylococcus aureus culture
	LAB2882
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	eSwab: Stable 48 hours at RT.

Aspirate abscess material and tissue may be placed in the transport medium. Do not overfill.

	Transport Device: eSwab
Source: Various specimen sources.

Mfg. part number 480C

Order through Medline Punchout



Sensitivity: General Business Use.  This document contains proprietary information and is intended for business use only. 

Sensitivity: General Business Use.  This document contains proprietary information and is intended for business use only. 

image4.png




image1.png




image2.png
Use - Swab for sample collection

Discard - Swab not used for testing
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